## FA-2
Unnamed: 0 | 13851 - FIRE ALARM | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | Unnamed: 10 | Unnamed: 11 | Unnamed: 12 | Unnamed: 13 | Unnamed: 14 | Unnamed: 15 | Unnamed: 16 | Unnamed: 17 | Unnamed: 18 | Unnamed: 19 | Unnamed: 20 | Unnamed: 21 | Unnamed: 22 | Unnamed: 23 | Unnamed: 24 | Unnamed: 25 | Unnamed: 26 | Unnamed: 27 | Unnamed: 28 | Unnamed: 29 | Unnamed: 30 | Unnamed: 31 | Unnamed: 32 | Unnamed: 33 | Unnamed: 34 | Unnamed: 35 | Unnamed: 36 | Unnamed: 37 | Unnamed: 38 | Unnamed: 39 | Unnamed: 40 | Unnamed: 41 | Unnamed: 42 | Unnamed: 43 | Unnamed: 44 | Unnamed: 45 | Unnamed: 46 | Unnamed: 47 | Unnamed: 48 | Unnamed: 49 | Unnamed: 50 | Unnamed: 51 | Unnamed: 52 | Unnamed: 53 | Unnamed: 54
| Description | B01.00_Medical Facilities | Data Center | B04.11_VILLA TYPE 1 | B04.13_VILLA TYPE 3 | B04.21_FAMILY APARTMENT TYPE 1 | B04.22_FAMILY APARTMENT TYPE 2 | B04.31_SINGLE APARTMENT TYPE 1 | B04.32_SINGLE APARTMENT TYPE 2 | B04.33_SINGLE APARTMENT TYPE 3 | B04.34_SINGLE APARTMENT TYPE 4 | B04.40 SINGLE NURSES FITNESS CENTER - RS | B05.04 SPORT AND RECREATION - CM | B05.05 RETAIL AND COM - CM | B05.06 CENTRAL SECURITY- CM | B06.01 MAIN MOSQUE TYPE 1 - CM | B06.02 RESIDENTIAL MOSQUE 2 - CM | B07.01 CAR PARK 1 - SV | B07.02 CAR PARK 2 - SV | B07.03 CAR PARK 3 - SV | B07.04 CAR PARK 4 - SV | B07.05 CAR PARK 5 - SV | B07.06 CAR PARK 6 - SV | B07.08 CAR PARK 8 - SV | B07.09 CAR PARK 9 - SV | B08.01 CHILLER BUILDING - SV | B08.02 BOILER BUILDING - SV | B08.03 CENTRAL LAUNDRY - SV | B08.04 WAREHOUSE - SV | B08.05 VEHICLE MAINTENANCE WORKSHOP - SV | B08.06_ WORKSHOP | B08.07_Filling Station & Washing Facility | B08.08_ENGINEERING BUILDING | B08.09_SOLID WASTE TRANSFER STATION | B08.10_PLANT NURSERY | B08.15_LPG STATION | B08.18 Standby Power Plant | B08.19_MEDICAL GAS | B08.20_IRRIGATION RESERVOIR | B08.21_ GROUND WATER TANK | B09.01_OFFICES & MAINTENANCE BUILDING | B09.02_ WASHING AREA | B09.03_STORAGE BUILDING | B09.05_TIRE REPAIR SHOP | B09.06_DRIVER'S MESS | B10.11_GATE TYPE 1 | B10.12_GATE TYPE 2 | B10.13 GATE TYPE 3 - SV | B10.14_GATE TYPE 4 | B10.15_GATE TYPE 5 | B10.21_BUS STOP TYPE 1 | C03.01_ UTILITY TUNNEL | C11_TELECOM & IT | TOTAL
| No of Buildings | 1 | 1 | 5 | 190 | 8 | 21 | 2 | 2 | 4 | 3 | 1 | 1 | 1 | 1 | 1 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 1 | 10 | 1 | 1 | 293
1 | 15 Loop Fire alarm control panel (FACP), including fiber interface. | [6 empty] | 2 | 2 |  | 3 | [42 empty] | 7
2 | 13 Loop Fire alarm control panel (FACP), including fiber interface. | [8 empty] | 4 | [43 empty] | 4
3 | 10 Loop Fire alarm control panel (FACP), including fiber interface. | 13 | [51 empty] | 13
4 | 9 Loop Fire alarm control panel (FACP), including fiber interface. |  |  |  |  | 8 | 21 | [46 empty] | 29
5 | 5 Loop Fire alarm control panel (FACP), including fiber interface. | 1 | [51 empty] | 1
6 | 3 Loop Fire alarm control panel (FACP), including fiber interface. | [14 empty] | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [5 empty] | 1 | [18 empty] | 5 |  | 17
7 | 2 Loop Fire alarm control panel (FACP), including fiber interface. | 1 | [9 empty] | 1 |  |  | 1 | [15 empty] | 1 |  |  | 1 | 1 |  | 1 |  |  |  | 1 | [12 empty] | 8
8 | 1 Loop Fire alarm control panel (FACP), including fiber interface. | [12 empty] | 1 | [13 empty] | 1 | 1 | 1 |  | 1 |  |  |  | 1 |  | 1 | [7 empty] | 1 | 2 | 1 | 2 | 1 | 10 |  |  | 24
9 | Fire alarm control panel (FACP), including fiber interface. | [11 empty] | 1 |  |  |  | 3 | [36 empty] | 4
10 | UL Listed Workstation and Link to Integration Server. | 1 | [51 empty] | 1
11 | Annunciator panel. | 80 | [34 empty] | 1 | [16 empty] | 81
12 | UL Listed Workstation and Link to Integration Server. | 1 | [51 empty] | 1
13 | Alarm initiating devices. | [52 empty] | 0
14 | Manual station. | 534 |  | 10 | 380 | 136 | 357 | 126 | 126 | 204 | 189 | 6 | 17 | 5 | 5 | 9 | 36 | 25 | 25 | 18 | 26 | 26 | 22 | 36 | 36 | 11 | 11 | 2 | 6 | 11 | 3 | 2 | 10 | 7 | 6 | 2 | 8 | 1 | 3 | 1 | 12 | 1 | 8 | 1 | 2 | 7 | 14 | 1 | 2 | 1 | 30 | 75 |  | 2592
15 | Optical type smoke detector. | 8939 |  | 90 | 1330 | 912 | 2394 | 594 | 632 | 1000 | 297 | 24 | 150 | 44 | 26 | 69 | 48 | 15 | 15 | 12 | 15 | 15 | 19 | 14 | 14 | 64 | 64 | 57 | 24 | 8 | 25 | 8 | 94 | 22 | 27 | 2 | 21 | 12 | 2 | 1 | 27 | 1 |  | 1 | 8 | 20 | 36 | 9 | 2 | 1 | 20 | 33 |  | 17257
16 | Optical type smoke detector wall mounted. | [36 empty] | 1 | [15 empty] | 1
17 | Optical type smoke detector with sounder. |  |  |  |  | 1240 | 3255 |  | 1004 | 1560 | 1461 |  |  |  | 9 | [38 empty] | 8529
18 | Optical type smoke detector with sounder base,cabling and fixation. |  |  | 30 | 1140 | [48 empty] | 1170
19 | Optical smoke detector installed above false ceiling for non plenum areas. | [40 empty] | 1 | [11 empty] | 1
20 | Optical type smoke detector installed above false ceilingand under raised floor for non plenum areas. | [52 empty] | 0
21 | Optical type smoke detector installed under raised floor. | [24 empty] | 6 | 6 | [26 empty] | 12
22 | Duct smoke detector to protect areas above false ceiling used as plenum areas. | [52 empty] | 0
23 | Projected beam optical smoke detector. | 19 | [10 empty] | 10 | 8 | 2 |  | 2 | [8 empty] | 7 | 7 |  | 9 |  | 2 |  |  | 10 |  |  | 2 | [5 empty] | 4 | [10 empty] | 82
24 | Multi detector. | 239 |  |  |  | 32 | 84 | 30 | 30 | 60 | 45 |  | 30 | 8 |  |  | 28 | 1 | 3 |  | 4 |  | 1 | 3 | 3 | 18 | 18 | 4 | 38 | 3 |  |  | 13 | 2 | 6 |  | 3 |  | 3 |  | 1 | [9 empty] | 20 |  |  | 730
25 | Laser Smoke Detector. | 170 |  |  |  | 48 | 126 | 20 | 20 | 32 |  | 1 | 6 | 3 |  | 3 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  | 5 | 5 | 1 | 2 | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 2 | 1 |  |  | 1 |  | 1 |  | 1 | 1 | 2 | 1 | 2 | 1 | 10 | 36 |  | 535
26 | Laser Detector. |  |  | 5 | 190 | [5 empty] | 30 | [42 empty] | 225
27 | Aspirating Smoke Detector. | 50 | [26 empty] | 10 | [22 empty] | 140 |  | 200
28 | Rate of rise heat detector. | 77 | [9 empty] | 2 | 2 |  | 2 | [14 empty] | 4 |  |  | 1 |  | 2 | [5 empty] | 1 | [12 empty] | 91
29 | Fixed temperature heat detector. | 5 | [10 empty] | 20 |  | 1 |  |  | 2 |  |  |  |  | 2 |  |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 11 |  |  |  | 1 | [7 empty] | 2 | [8 empty] | 50
30 | heat detector. |  |  | 15 | 570 | 64 | 168 | 24 | 24 | 40 | 36 | [42 empty] | 941
31 | heat detector for harsh environment. | [31 empty] | 1 | [20 empty] | 1
32 | heat detector with sounder. |  |  |  |  | 208 | 546 | [46 empty] | 754
33 | Flame Detector. | 42 | [23 empty] | 2 | 2 | [8 empty] | 4 |  |  |  |  | 1 | [12 empty] | 51
34 | Linear heat Detector. | [50 empty] | 5 |  | 5
35 | Fire fighter telephone including Jack. | 534 | [5 empty] | 118 | 118 | 188 | 177 |  | 15 |  |  |  |  | 7 | 7 | 9 | 9 | 9 | 9 | 10 | 10 | [26 empty] | 75 |  | 1295
36 | Magnetic door holder. | [52 empty] | 0
37 | MM and CM. | [52 empty] | 0
38 | Alarm and soundry devices. | [52 empty] | 0
39 | Horns with strobe light. |  |  | 15 | 380 | 256 | 672 | 8 | 8 | 16 | [43 empty] | 1355
40 | Wall mounted strobe light. | 39 | [9 empty] | 2 | 30 |  |  | 4 | [9 empty] | 65 | 65 | 4 | 4 |  |  |  | 7 | 1 | 2 |  | 18 |  |  |  | 6 | 1 | 20 |  |  | 4 | 8 |  |  |  | 10 |  |  | 290
41 | Wall mounted Horns. | [10 empty] | 2 | 15 |  |  |  | 9 | 7 | 7 | 9 | 9 | 9 | 9 | 10 |  | 65 | 65 | 4 | 4 |  | 7 |  | 7 | 1 | 2 |  | 6 |  | 1 |  | 6 | 1 | 20 |  |  | 4 | 8 |  |  |  | 10 |  |  | 297
42 | Wall mounted Horns with strobe light. | 400 | [9 empty] | 9 |  | 25 | 12 | 38 | 12 | 150 | 130 | 128 | 134 | 134 | 125 | 210 | 210 | 37 | 37 | 10 | 36 | 6 | 7 | 4 | 47 | 16 | 9 | 4 | 10 | 4 |  | 1 | 11 |  |  | 1 | 4 | 16 | 32 | 8 | 2 | 1 | 10 | 345 |  | 2375
43 | Ceiling mounted strobe light. | 1169 | [14 empty] | 9 | [21 empty] | 1 | [14 empty] | 1179
44 | Ceiling mounted evacuation speaker | 4641 | [5 empty] | 390 | 358 | 564 | 585 |  | 90 | [40 empty] | 6628
45 | Ceiling mounted evacuation speaker with strobe light | [6 empty] | 278 | 310 | 484 | 417 | [42 empty] | 1489
46 | Interface devices and addressable modules |  |  | 5 | 190 | [48 empty] | 195
47 | Extra material including spare parts, tools and instruments | [52 empty] | 0